New South Wales Government
Procurement System for Construction

Space

Procurement Practice Guide

Building project elements

July 2008 (updated February 2014)

Important notices

#### Current version

The current version of this Procurement Practice Guide is maintained on the Internet at:

www.procurepoint.nsw.gov.au

#### Amendments

Refer to the Procurement Practice Guide Amendments Log which is available on the Internet at:

www.procurepoint.nsw.gov.au

#### Copyright

This work is copyright.  Apart from any use as permitted under the Copyright Act 1968 (Cwlth), no part may be reproduced by any process without written permission.

© NSW Government 2008

Requests and enquiries concerning reproduction and rights should be addressed to:

NSW Procurement Client Support Centre:

Telephone: 	1800 679 289

Email:		nswbuy@finance.nsw.gov.au

Please view the Index of construction documents to locate all documents referenced throughout this text.

Building project elements

#### Guidance notes

This guide is provided to assist with the preparation of GC21 tender schedules titled ‘schedule of information for “Schedule 3 – Progress Claims Worksheet”

This guide is based on the National Public Works Conference Cost Control Manual and the Australian Standard Method of Measurement of Building Works.(Fifth Edition) published by the Australian Institute of Quantity Surveyors and the Master Builders’-Construction and Housing Association Australia

Contents

Building project elements	1

1	List of Elements	1

1.1	Preliminaries	1

1.2	Substructure	1

1.3	Superstructure	1

1.4	Finishes	1

1.5	Fittings	1

1.6	Services	1

1.7	Centralised Energy Systems	1

1.8	Alterations	1

1.9	Site Works	2

1.10	External Services	2

1.11	External Alterations	2

1.12	Special Provisions	2

2	List of Elements and Definitions	3

3	Definitions Of Elements	4

3.1	Preliminaries	4

3.2	Substructure	4

3.3	Superstructure	4

3.4	Finishes	6

3.5	Fittings	7

3.6	Services	7

3.7	Centralised Energy Systems	10

3.8	Alterations	11

3.9	Site Works	11

3.10	External Services	12

3.11	External Alterations	13

3.12	Special Provisions	13

# Building project elements

## List of Elements

### Preliminaries

00 PR Preliminaries

### Substructure

01 SB Substructure

### Superstructure

02 CL Columns (Framed Buildings)

03 UF Upper Floors

04 SC Staircases

05 RF Roof

06 EW External Walls

07 WW Windows

08 ED External Doors

09 NW Internal Walls

10 NS Internal Screens and Borrowed Lights

11 ND Internal Doors

### Finishes

12 WF Wall Finishes

13 FF Floor Finishes

14 CF Ceiling Finishes

### Fittings

15 FT Fitments

16 SE Special Equipment

### Services

17 SF Sanitary Fixtures

18 PD Sanitary Plumbing

19 WS Water Supply

20 GS Gas Services

21 SH Space Heating

22 VE Ventilation

23 EC Evaporative Cooling

24 AC Air Conditioning

25 FP Fire Protection

26 LP Electric Light and Power

27 CM Communications

28 TS Transportation Systems

29 SS Special Services

### Centralised Energy Systems

30 CE Centralised Energy Systems

### Alterations

31 AR Alterations And Renovations

### Site Works

32 XP Site Preparation

33 XR Roads Footpaths And Paved Areas

34 XN Boundary Walls, Fencing And Gates

35 XB Outbuildings And Covered Ways

36 XL Landscaping And Improvements

### External Services

37 XK External Stormwater Drainage

38 XD External Sewer Drainage

39 XW External Water Supply

40 XG External Gas

41 XF External Fire Protection

42 XE External Electric Light and Power

43 XC External Communications

44 XS External Special Services

### External Alterations

45 XX External Alterations and Renovations

### Special Provisions

46 YY Special Provisions

## List of Elements and Definitions

Preliminaries

See Item 3.1

Site Preparation

See Item 3.9

All basic work necessary prior to proceeding with buildings and external works.

Substructure

See Item 3.2

Structurally sound and watertight base upon which to build.  Includes lower floor slab but does not include basement walls or plumbing beneath walls.

Superstructure

See Item 3.3

Columns, Upper Floors, Staircases, Roof.  Includes portal frames, External Walls, Windows, External Doors, Internal Walls, Internal Screens and Borrowed Lights, Internal Doors.

Finishes

See Item 3.4

Wall Finishes, Floor Finishes, Ceiling Finishes

Fittings

See Item 3.5

Fitments. (benches, cupboards, counters, daises, stages), Special Equipment.

Services (inside external walls)

See Item 3.6

Sanitary Fixtures, Sanitary Plumbing, Water Supply, Gas Service, Space Heating, Ventilation, Evaporative Cooling, Air Conditioning, Fire Protection, Electric Light and Power, Communications, Transportation Systems (lifts, escalators), Special Services.

Centralised Energy Systems

See Item3.7

Steam heating, hot water, Site generated electricity.

Alterations

See Item3.8

Alterations and Renovations.

Site Works

See Item 3.9

Roads, Footpaths and Paved Areas, Boundary Walls, Fencing and Gates, Outbuildings and Covered Ways, Landscaping and Improvements.

External Services (outside external walls)

See Item 3.10

Stormwater Drainage, Sewer Drainage, Water Supply, Gas Service, Fire Protection, Electric Light and Power, Communications, Special Services.

External Alterations

See Item 3.11

Alter existing site works or external services.

Special Provisions

See Item 3.12

Items not included in the Net Project Cost but which may be included in the building contract

## Definitions Of Elements

### Preliminaries

00 PR Preliminaries

It INCLUDES preliminary items as defined in Section 2 of the Australian Standard Method of Measurement of Building Works, where ascertainable.

### Substructure

01 SB Substructure

The structurally sound and watertight base upon which to build.

It INCLUDES basement and foundation excavations; piers, piles, pedestals, beams and strip footings; foundation walls; drop aprons; hardcore filling; work slabs and damp-proofing or other membranes; floor structures; subsoil drainage; ducts, pits, bases and service tunnels; entrance steps, ramps and their finishes; steps and ramps in the one floor level; structural screeds and toppings; covered swimming pools; all other work up to but excluding the lowest floor finish.

It EXCLUDES 'Site Preparation' (32 XP); basement walls (06 EW); columns above tops of bases (02 CL, 06 EW, 09 NW); 'Floor Finishes’ (13 FF); all non-structural work associated with the internal services.

### Superstructure

02 CL Columns (Framed Buildings)

The upright supports to upper floors and roof forming part of a framed structure.

It INCLUDES internal and external columns from tops of columns to bases; column casings; all protective non-decorative coatings.

It EXCLUDES portal frames (05 RF); columns to non-framed (load bearing) structures (06 EW, 09 NW); columns supporting awnings and attached covered ways (05 RF); columns supporting exposed attached external stairs (04 SC); all finishes (06 EW, 12 WF).

Note:

Columns below lowest floor finish (e.g. in filled areas) are included in this element because of the impracticability of splitting a column into two elements.

03 UF Upper Floors

Floor structures above that at the lowest level.

It INCLUDES all beams; concrete, precast and in-situ floors; waffle slab and filler block floors; metal floors; computer floors; timber framed floors; structural screeds and toppings; concealed insulation; balconies; overhangs and sunhoods integral with floors; steps and ramps in the one floor level; all protective non-decorative coatings.

It EXCLUDES landings and ramps between floor levels (04 SC); balcony balustrades (06 EW); internal and external finishes (04 SC, O6 EW, 13 FF, 14 CF).

04 SC Staircases

The structural connections between two or more nominal floor levels or to roof, plant rooms and motor rooms together with associated finishes.

It INCLUDES landings; ramps between floor levels; fire escapes; supporting framework; access ladders; spiral staircases; tread, riser, string and soffit finishes; balustrades and handrails.

It EXCLUDES steps and ramps at changes in the one floor level (01 SB, 03 UF); ground level entrance steps (01 SB); lifts and escalators (28 TS).

05 RF Roof

To provide a structurally sound and watertight covering over the building.

It INCLUDES portal frames; roof construction; gable and other walls in roof spaces; parapet walls and roof balustrades; thermal insulation; rooflights and dormers with their sunscreenings; eaves, verges and fascias; rainwater goods; internal stormwater drainage runs; awnings and open lean-to roofs; all protective non-decorative coatings.

It EXCLUDES rainwater goods to balconies and other unenclosed floor areas (03 UF); all non-structural work associated with the internal services; independent roofs to exposed attached external stairs (04 SC).

06 EW External Walls

The vertical enclosure around the building other than 'Windows' and 'External Doors' from 'Substructure' to ‘Roof’'.

It INCLUDES structural walls; basement walls and tanking above lowest floor finish; spandrel, curtain and window walls; external shop fronts; glazed screen walls; columns and isolated piers to non-framed (load bearing) structures; gallery and balcony walls and balustrades; solar screen walls; plant room air flow screens; all insulation to external walls; all external finishes to all columns, slab edges, beams, projecting overhangs and walls; lintels and flashings at openings; ring beams and stiffening beams not integral with floor, ceiling or floor slabs.

It EXCLUDES all internal finishes to external walls (except screens and the like) and columns (l2 WF); sills, thresholds and linings (07 WW, 08 ED); walls in 'Roof' (05 RF) and 'Substructure' (01 SB) and all doors (08 ED); sun protection to windows (07 WW) and sunhoods integral with floors (03 UF); fire places, hearths, flues and stacks (21 SH, 29 SS); beams integral with slabs (03 UF, 05 RF).

07 WW Windows

Openings in 'External Walls' to provide light and ventilation.

It INCLUDES flyscreens; louvres; guard grilles; remote control gear; sun protection to windows; curtains, blinds, track and pelmets; window sills and linings; hardware; decoration.

It EXCLUDES lintels and flashings (06 EW); special blackout facilities (16 SE); rooflights and dormers (05 RF); window walls and glazed screens (06 EW); sunhoods integral with floors (03 UF); solar screen walls (06 EW); window cleaning equipment (16 SE).

Note:

Includes hardware and decorations, glazing and infill panels within window frames.

Clerestory windows occurring in external walls to clerestorys are included in this element.

08 ED External Doors

The access ways into the building both for pedestrians and vehicles.

It INCLUDES frames; linings; glazing; architraves; hardware; panels and highlights over; flydoors; roller shutters; garage doors; fire doors; grille and chain wire doors; gates; service cupboard doors and thresholds; decoration.

It EXCLUDES frames forming an integral part of wire mesh or glazed screen walls (06 EW); lintels and flashings (06 EW); under floor access doors (01 SB); framing and glazing to sidelights to doors with or without highlights (06 EW).

09 NW Internal Walls

Permanent division of internal spaces into separate rooms or to enclose duct and other non-useable areas.

It INCLUDES walls; internal columns and isolated piers to non-framed (load bearing) structures; lintels, damp courses and bearing strips; stiffening beams not integral with floor, ceiling or roof slabs; part height solid walls glazed over to ceiling; unducted air flow grilles; fire walls and smoke screens.

It EXCLUDES 'Internal Screens and Borrowed Light' ,(10 NS); wall finishes (12 WF); works in 'Roof (05 RF) and 'Substructure’ (01 SB); part height solid walls (10 NS); fireplaces, hearths, flues and stacks (21 SH, 29 SS); beams integral with slabs (03 UF, 05 RF).

Note: Part height solid walls are screens (by definition) and included in element 10 NS.

10 NS Internal Screens and Borrowed Lights

To screen off or temporarily divide internal spaces into separate compartments and to allow the transfer of light through ‘Internal Walls’.

It INCLUDES proprietary type office partitioning; glazed screens; internal shop fronts; fold away and operable walls; overhead frameworks and supporting beams; chain wire and grille screens; toilet partitions and screen walls; borrowed lights; balustrades and rails not associated with stair cases; all finishes and decorations.

It EXCLUDES all doors (11 ND); counters and wall hatches (15 FT).

11 ND Internal Doors

Passage ways through ‘Internal Walls’, internal screens and partitions and to provide access to service cupboards and ducts.

It INCLUDES frames; linings; glazing; architraves; pelmets; hardware and door grilles; chain wire and grille doors; toilet doors; cell and strong room doors; fire doors; roller shutters; service cupboard doors; duct access panels; fanlights and panels over and linings to blank openings; decoration.

It EXCLUDES frames forming integral parts of demountable, wire mesh or glazed screens, etc. (10 NS); lintels (09 NW); framing and glazing to sidelights to doors (10 NS).

### Finishes

Note: Re - Finishes Generally:

Where a finish incorporates a special type of formwork, only that cost which is extra over the cost of rough formwork is to be included in the finish. The rough formwork cost is part of the structure.

12 WF Wall Finishes

To finish and decorate all interior faces of 'Columns', 'External Walls' and 'Internal Walls'.

It INCLUDES finishes to internal faces of external walls and columns; acoustic wall linings; extra costs involved for face bricks, face and coloured blocks and off form concrete; splashbacks, dados and regulation wall vents.

It EXCLUDES finishes to 'Internal Screens and Borrowed Lights' (10 NS); skirtings (13 FF) and cornices (14 CF); all external finishes to external walls and columns (06 EW); finishes to both sides of external screens (06 EW); all protective non-decorative coatings.

Note:

Finishes to 'Internal Screens and Borrowed Lights' (10.NS) are included in that element.

Finishes to internal faces of external screens, etc. are included with the relevant sub-elements in 'External Walls' (06 EW).

13 FF Floor Finishes

To provide a satisfactory finish to ‘Upper Floors' and 'Substructure' for walking on.

It INCLUDES all preparatory work and finishing; balcony floor finishes; skirtings; screeds; timber floor finishes; dividing strips; mats and matwells; duct and pit covers; carpeting used as a permanent floor finish; timber and other finishes to concrete floors; finishes to steps in the one floor level.

It EXCLUDES structural screeds and toppings (01 SB, 03 UF); landing and stair finishes (04 SC); trafficable roof covering (05 RF); timber framed floors (03 UF, 01 SB) ; finishes to external thresholds (08 ED); door sills (08 ED, 11 ND).

Note:

Element includes all floor finishes to areas measures in the 'Building Area' (B.A.).

14 CF Ceiling Finishes

To finish and decorate all internal soffits of ‘Upper Floors' and 'Roof' over rooms and external soffits over unenclosed covered areas.

It INCLUDES preparatory work; suspended false ceilings; proprietary suspended ceiling systems; acoustic ceiling linings; extra costs involved for off form concrete; linings to roof lights; ceiling manholes; framing to bulkheads and cornices.

It EXCLUDES eaves soffits (05 RF); stair and landing soffits (04 SC); ceiling joists where not suspended (03 UF, 05 RF); soffits of projecting overhangs (06 EW); all protective non-decorative coatings (03 UF, 04 SC, 05 RF): air conditioning grilles (24 AC).

### Fittings

15 FT Fitments

To fit out the building with built-up fitments and fixed items included in the main contract.

It INCLUDES benches; cupboards; shelving; racks; seats; counters; chalkboards; notice boards, signs and name plates; coat rails and hooks; mirrors; wall hatches; daises and stages.

It EXCLUDES loose furniture and furnishings (46 YY); curtains and blinds (07 WW); 'Special Equipment' (16 SE) ; 'Internal Screens and ‘Borrowed Lights' (10 NS).

16 SE Special Equipment

To provide items of equipment of unitary, commercially available type and/or of a type not covered by other elements.

It INCLUDES window cleaning, gymnasium, mortuary and photographic equipment; audio-visual aids; laboratory, laundry, kitchen and central sterile services department (C.S.S.D.) type equipment; dental and workshop equipment; boiling water units; sink heaters; laboratory stills; special blackout facilities; bed pan washers; linen and refuse disposal equipment; refrigerators and refrigerated drinking water coolers; incinerators; sanitary macerators; circulating fans; all cold, hot, gas and other valves and cocks, controls, electric wiring and piping integral with this equipment; specified Builders work in connection with this equipment.

It EXCLUDES cool rooms and process cooling, incineration plant of custom design of built-up type, and other 'Special Services' (29 SS) or ‘External Special Services' (44 XS); loose equipment not covered in the main contract (46 YY); fire fighting equipment (25 FP); ‘Sanitary Fixtures’ (17 SF); refrigeration plant associated with air conditioning (24 AC).

### Services

17 SF Sanitary Fixtures

To fit out the building with normal fixtures connected to the soil and waste plumbing systems and all associated ancillaries.

It INCLUDES W.C. suites; urinals; basins; sinks and tubs; troughs and runnels; drinking fountains; slop hoppers; showers; hobs; shower curtains and trays; terminal outlets integral with fixtures; flusherette valves; soap and toilet paper holders; towel rails and hand driers.

It EXCLUDES sanitary macerators, bed pan washers, kitchen, laundry and sterilising equipment and refrigerated drinking water coolers (16 SE); sanitary incinerators (29 SS); floor wastes and all loose traps (18 PD); terminal outlets not integral with fixtures (19 WS).

18 PD Sanitary Plumbing

The disposal of all waste and soiled water from fixtures and equipment out to the external face of external walls.

It INCLUDES stacks and vents; all loose traps; floor wastes; internal sewer drainage runs, pumps and ejectors; acid resisting pipes and drains; box ducting and paintwork.

It EXCLUDES rainwater disposal systems (05 RF); incinerator flues (16 SE, 29 SS, 44 XS); duct access panels (11 ND).

19 WS Water Supply

Systems to supply water from point of building entry to the points of consumption. The water may be at ambient temperature, heated or cooled and may be treated by clarification, filtration, softening, de-mineralisation, distillation, desalination or other means. The water may be supplied from town mains, bores, rivers, lakes, rainwater tanks, centralised energy systems or other sources.

It INCLUDES storage tanks; pumps; water treatment plants; water heaters and coolers; reticulation pipework including pipeline components; terminal outlets not integral with fixtures and/or equipment; controls other than those associated with water consuming items of equipment; box ducting; insulation; sheathing; painting and identification; building and electrical work forming part of the Contract for water supply.

It EXCLUDES meters, extensions and connections to town mains or other sources (39 XW); self-contained unitary equipment such as boiling water units, sink heaters and laboratory stills (16 SE).

20 GS Gas Services

To supply town, natural, simulated natural and liquefied petroleum gas from point of building entry to points of consumption. The gas may be supplied from town mains, storage cylinders, bulk storage tanks or other sources.

It INCLUDES portable gas cylinders; booster compressors; manifolds and regulators; box ducting, painting and identification; building and electrical work forming part of the gas services element; reticulation pipework and pipeline components; terminal outlets not integral with fixtures and/or equipment; gas detection systems.

It EXCLUDES outlet cocks integral with appliances (16 SE); hot water heaters (16 SE, 19 WS); space heaters (21 SH) and other like equipment; meters and extensions and connections to town mains or other sources (40 XG).

Note:

Gas app1iances forming part of an air conditioning, space heating water supply system or other system should be included under the appropriate element.

Gas controls, valves regulators and other pipeline components directly associated with gas fired equipment should be included under the element appropriate to the gas fired equipment.

21 SH Space Heating

To heat the interior of buildings by means of convection, radiation or any other form of heating.

It INCLUDES unitary heaters; reticulated steam, hot water or hot oil systems; warm air systems; electric floor or ceiling heating systems; fireplaces, hearths and associated work in chimney stacks; boiler plant installed within the heated building and servicing only element (21 SH) in that building; insulation and painting; controls and associated electrical work.

It EXCLUDES any system which also provides air cooling ['Air Conditioning' (24 AC) or ‘Evaporative Cooling' (23 EC) ].

Note:

Boiler plant and pipe reticulation located outside the building served and serving multiple buildings, or serving other elements such as AC or WS to be included under 'Centralised Energy Systems’ (30 CE).

Gas storage and reticulation systems to be included under 'External Gas' (40 XG) if located outside the building served or if serving other elements, or 'Gas Service' (20 GS) if located within the building served, otherwise to be included in 21 SH.

Electric cabling terminates at junction with ‘Electric Light and Power' (26 LP).

Controls and electric wiring integral with equipment items to be included with those items.

22 VE Ventilation

To ventilate buildings by means or supply and/or exhaust systems.

It INCLUDES mechanical ventilators; non-mechanical roof ventilators; supply and/or exhaust fans; ducted systems; exhaust hoods; ducting, plant, controls and associated electrical work.

It EXCLUDES any system which also involves heating (21 SH) ; '.Air Conditioning' (24 AC); 'Evaporative Cooling' (23 EC); circulating fans (16 SE); regulation wall vents (12 WF); door grilles (11 ND); plant room air flow screens (06 EW); louvred windows (07 WW).

Note:

Dust extraction to be included under 'Special Services' (29 SS).

Electric cabling terminates at junction with 'Electric Light and Power' (26 LP).

23 EC Evaporative Cooling

To cool air within a building by evaporative processes; the system can include ancillary heating.

It INCLUDES evaporative coolers, rock bed regenerative systems and ancillary heating devices; ducting, insulation, painting and associated electrical work.

It EXCLUDES door grilles (11 ND); 'Air Conditioning' (24 AC) ; systems which heat (21 SH) and/or ventilate (22 VE) only.

Note:

Air relief grilles in doors and walls to be included under respective building element

Electric cabling terminates at junction with ‘Electric Light and Power’ (26 LP).

24 AC Air Conditioning

To maintain and control temperature, humidity and quality of air within predetermined limits within buildings.

It INCLUDES package air conditioners; systems for cooling only; ductwork, plant, controls and associated electrical work; air conditioning grilles.

It EXCLUDES door grilles (11 ND) and systems which heat (21 SH) and/or ventilate (22 VE) only; special cool rooms (29 SS); special hot rooms (29 SS); 'Evaporative Cooling' (23 EC).

25 FP Fire Protection

To detect and/or extinguish fires.

It INCLUDES sprinklers and other automatic extinguishing systems; fire indicator board; manual and automatic fire alarm installations; fire fighting equipment; hydrant installations and hose reels and cupboards; hand appliances.

It EXCLUDES fire doors (08 ED, 11 ND); fire proofing (02 CL, 03 UF, 05 RF, 12 WF, 14 CF, etc.)

26 LP Electric Light and Power

To provide all light and power and emergency light and power from and including main distribution board to and including power outlets and light fittings.

It INCLUDES main distribution board*; sub-mains and distribution boards; emergency lighting systems; power sub-mains to mechanical equipment and sub-mains and/or sub-circuits to other equipment and/or final sub-circuits.

It EXCLUDES other electrical installations listed under other elements such as 'Special Services' (29 SS); 'Communications' (27 CM) and 'Centralised Energy Systems' (30 CE).

* Where the main switchboard supplies only one building, it shall be considered as a main distribution board.

27 CM Communications

To provide audio and video communication within a building.

It INCLUDES the following systems - Telstra telephone, internal telephone, public address, call, emergency warning and intercommunication, personal paging, clock and/or bell, TV antenna and closed circuit TV.

It EXCLUDES document hoists and conveyor systems (28 TS); cables between buildings (43 XC).

Note:

Document hoists and conveyor system to be included in 28 TS.  Cables between buildings to be included in 43 XC.

28 TS Transportation Systems

To transport personnel and/or goods from floor to floor or area to area.

It INCLUDES all lifts, hoists and conveyer systems; escalators; all associated equipment and work other than structural building work.

It EXCLUDES such items as walls to shafts and lift wells and machine rooms (06 EW , 09 WW).

29 SS Special Services

To provide services or installations not covered by other elements.

It INCLUDES monitoring systems; cool rooms and process cooling; special conditioned rooms; staircase pressurisation systems; compressed air; medical and industrial gas systems; dust extraction systems; security systems; lightning protection; stage lighting and theatre equipment; reticulated soap dispenser systems; 1aundry, heat and water reclaim systems and the like.

It EXCLUDES equipment items (16 SE); communication services (27 CM).

### Centralised Energy Systems

30 CE Centralised Energy Systems

To produce and supply steam, heating, hot water, chilled water and/or other cooling or heating media and/or site generated electrical energy to a number of buildings and/or to multiple energy consuming elements.

It INCLUDES the piping reticulation within central plant room or plant house and up to branch off-takes to energy consuming functional elements; sections of the main piping reticulation running to, within or through buildings served; cabling within the central plant room or house and all work which forms part of the energy system element; buildings to house such plant, service tunnels, ducts and/or conduits.

It EXCLUDES emergency generating plant and cabling from central switchboard to other buildings (42 XE).

Note:

Interfaces between element 30 CE and other elements are those points where branches serve single elemental systems or where branches leave common mains within buildings to serve single elemental systems.

Centralised Energy Systems may range from very large boiler and/or chiller and/or electrical generating plants serving large and complex sites such as airports, major hospitals, universities or colleges to small boiler installations supplying energy to say space heating and domestic hot water systems in relatively small single buildings such as school classroom blocks, pavilion type hospital wards and so on.

Where energy generators supply the whole of their production to one functional system only and are contained within the alignment of the building served they are to be considered as part of that functional system.

Engineering systems serving the central plant room or plant house are to be included under appropriate elements for the building housing the centralised energy plant.

### Alterations

31 AR Alterations and Renovations

To alter or renovate any existing building including works to the substructure, finishes, fittings and internal services.

It INCLUDES work in connecting a new building to an existing; redecorations; refitting out and all mechanical and electrical services in connection therewith; underpinning to existing buildings for alteration works.

It EXCLUDES complete demolitions of existing buildings, site clearance and removal of any paving, fences and outbuildings (32 XP); alterations and renovations to external services and site works (45 XX); any work involved in connecting new services to old in existing buildings (39 XW 40 XG, 42 XE, etc.)

### Site Works

32 XP Site Preparation

All basic work necessary prior to proceeding with buildings and external works.

It INCLUDES demolitions; site clearance; general levelling and filling; hoardings; retaining walls; removal of any paving, fences, trees and services; temporary diversions of services; underpinning to adjacent buildings.

It EXCLUDES alterations and permanent diversion of services (45 XX); alterations to buildings (31 AR) and existing site works (45 XX); any work involved in permanent connections of new services to existing (39 XW, 40 XG. 42 XE. etc.)

33 XR Roads Footpaths and Paved Areas

Trafficable areas between and around buildings (outside 'Fully Enclosed Covered Areas' and 'Unenclosed Covered Areas' as defined, outbuildings, etc.) for vehicles and pedestrians.

It INCLUDES car parks; playgrounds; kerbs; crossovers; bollards; steps and associated balustrades; weed poisoning.

It EXCLUDES uncovered bridge links (35 XB); sports pitches, lawns, site landscaping and improvements (36 XL); cut and fill (32 XP).

34 XN Boundary Walls, Fencing and Gates

To enclose or define the extent of the site.

It INCLUDES all walls, fences and gates at the site boundary.

It EXCLUDES all walls, fences and gates that subdivide the site (36 XL); all retaining walls (32 XP).

35 XB Outbuildings and Covered Ways

To provide small buildings supplementary to the main building(s) and covered areas or bridge links for pedestrian or vehicular site circulation.

It INCLUDES detached covered ways not alongside buildings; garages; bicycle sheds; incinerator buildings; residential and gatekeepers cottages; garbage shelters; workshops; chapels; stores; sheds; stair blocks; all electrical, mechanical and other services in connection therewith.

It EXCLUDES attached covered ways alongside buildings; boiler and plant houses (30 CE); water towers (39 XW); gas meter (40 XG) and water meter (39 XW) shelters; pump houses (39 XW), substations (42 XE) and similar engineering services buildings.

36 XL Landscaping and Improvements

To improve the appearance of the site and provide incidental site facilities for the use of the occupants.

It INCLUDES grassing and turfing; garden plots and planting; trees, screen, dwarf, play and entrance walls; seats; fountains; petrol bowsers (pumps) and tanks; sculptures; flagpoles; signs and notices; cricket nets and basketball posts; sports pitches and goal posts; open air swimming pools.

It EXCLUDES paving (33 XR); site clearance (32 XP); 'Boundary Walls, Fencing and Gates' (34 XN); walls required to retain the site (32 XP).

### External Services

37 XK External Stormwater Drainage

To dispose of rain and surface water from the site.

It INCLUDES pipe runs from the external face of buildings; inspection pits; sumps; road gullies; culverts; box drains; grated trenches; runs from pools and fountains; outfalls and head walls; agricultural and sub-soil drains; connections to existing runs and pits.

It EXCLUDES pipe runs, pits, etc. under buildings from internal downpipes (O5 RF); road gutters (33 XR); temporary drainage as site preparation (32 XP) : diversions to existing runs (45 XX).

38 XD External Sewer Drainage

To dispose of soil and waste water from the site.

It INCLUDES pipe runs from the external face of buildings; grease gullies; inspection pits and manholes; acid resisting and special drains; dilution pits; petrol and plaster arrestors; septic tanks; collection and holding wells; absorption trenches; transpiration areas; pumps and ejectors; connections to existing runs, pits and mains.

It EXCLUDES pipe runs, pits, etc. beneath buildings (18 PD); diversions to existing runs (45 XX).

39 XW External Water Supply

Systems to supply water up to the external faces of new buildings and up to other major consuming points such as swimming pools, fountains, artificial ponds, irrigation and ground watering outlets. The water may be at ambient temperature, heated or cooled and may be treated by clarification, filtration, softening, demineralisation, distillation, desalination or other means. The water may be supplied from town mains, bores, rivers, lakes, rainwater tanks, centralised energy systems or other sources.

It INCLUDES storage tanks; water towers; pumps; water treatment plants; water heaters and coolers; reticulation pipework including pipeline components; terminal outlets not integral with fixtures and/or equipment; insulation; sheathing; painting and identification; meters and meter enclosures included under the Contract; water bores; irrigation and ground watering systems; building and electrical work forming part of this element.

It EXCLUDES diversion to existing runs (45 XX).

40 XG External Gas

To supply town, natural, simulated natural and liquefied petroleum gas up the external faces of new buildings and other consuming points. The gas may be supplied from town mains, storage cylinders, bulk storage tanks or other sources.

It INCLUDES storage cylinders and tanks, meters and regulators forming part of the Contract; meter enclosures; reticulation pipework and pipe-line components; building and electrical work forming part of the external gas supply Contract.

It EXCLUDES diversions to existing runs (45 XX).

41 XF External Fire Protection

To supply fire hydrant and gas or vaporising agent runs up to external faces of new buildings, external sprinkler systems, and for site connections and connection of fire detection systems between buildings. Also to detect and/or extinguish fires in fixed plant or equipment located in the open air.

It INCLUDES standby and booster pumps; pipe runs; storage and reticulation of gas and vaporising agents; hydrant points; overhead and underground cables for fire detection systems.

It EXCLUDES trenches for cabling (42 XE).

42 XE External Electric Light and Power

To supply electric power to main distribution boards of buildings and to provide lighting and power to external site areas.

It INCLUDES connections to source of power supply; consumers mains; sub-station equipment; emergency generating plant; main switchboard*, underground and overhead cables; pylons and all trenches for cabling; street and area lighting; illuminated signs and building flood lighting.

It EXCLUDES communications cables (43 XC); work to existing electrical work (45 XX).

* Where the main switchboard supplies only one building, it shall be considered as a main distribution board and included in 26 LP.

Note:

Communications cables to be included in 43 XC.

Fire Alarm cables to be included in 41 XF.

43 XC External Communications

To provide external communication cables to terminating frames of buildings and to provide communication systems between buildings and to external site areas.

It INCLUDES Telstra work; underground and overhead cables; pylons; connections to existing cables; external speakers; hooters; clocks; bells; closed circuit TV; community antenna systems.

It EXCLUDES trenches for cabling (42 XE).

44 XS External Special Services

To provide external service or installations not included in other elements.

It INCLUDES external connections to items included in 'Special Services' (29 SS); service tunnels, ducts and conduits in connection with external reticulation of Services elements; dust extraction plant; incineration plant; bulk storage for medical and industrial gases.

### External Alterations

45 XX External Alterations and Renovations

To alter or renovate any existing site works and external services.

It INCLUDES resurfacing paved and grassed areas; renovating outbuildings; renewing fencing and gates; permanent diversion of drainage, cold water and other external service runs.

It EXCLUDES renovating existing buildings (31 AR).

### Special Provisions

46 YY Special Provisions

Items not included in the Net Project Cost but which may be included in the building contract or to make up the Gross Project Cost.

Such items may include:

Loose Furniture and Loose Equipment